NSF/ANSI/CAN 61
Drinking Water System Components - Health Effects

NOTE: Unless otherwise indicated for Materials, Certification is only for the Water Contact Material shown in the Listing. Click here for a list of Abbreviations used in these Listings. Click here for the definitions of Water Contact Temperatures denoted in these Listings. Products certified to NSF/ANSI/CAN 61 comply with the health effects criteria in NSF/ANSI/CAN 600.

| Clack Corporation |  |
| --- | --- |
| 4462 Duraform Lane |  |
| Windsor, WI 53598-9716 |  |  |
| United States |  |  |
| 608-846-3010 |  |  |

Facility : # 0 USA

Process Media

|  |  | Water | Water |
| --- | --- | --- | --- |
|  |  | Contact | Contact |
| Trade Designation | Size | Temp | Material |
| Filtration Media[G] |  |  |  |  |
| Filter-Ag® | 10 x 34 mesh | CLD 23 | SLDOX |  |
| Filter-Ag® | 14 x 60 mesh | CLD 23 | SLDOX |  |
| [G] Product is Certified to NSF/ANSI 372 and conforms with the lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. |  |  |  |  |

NOTE: Certified for water treatment plant applications.

This product has not been evaluated for point of use applications.

Facility : Windsor, WI

Mechanical Devices

|  |  | Water | Water |
| --- | --- | --- | --- |
|  |  | Contact | Contact |
| Trade Designation | Size | Temp | Material |
| Miscellaneous Treatment Devices/Components [G] |  |  |  |  |
| 1" & 1.25" Motorized Alternating Valve - V3069FF-01[1] | .28 L | CLD 23 | MLTPL |  |
| 1" & 1.25" Motorized Alternating Valve - V3069MM-01[1] | .30 L | CLD 23 | MLTPL |  |
| 1" & 1.25" No Hard Water Bypass Valve - V3070FF[1] | .42 L | CLD 23 | MLTPL |  |
| 1" & 1.25" No Hard Water Bypass Valve - V3070FM[1] | .42 L | CLD 23 | MLTPL |  |
| 1" Brass Sweat Assembly LF - V3007-02LF[1] | .05 L | CLD 23 | MLTPL |  |
| 1" Bypass Assembly - V3006[1] | .13 L | CLD 23 | MLTPL |  |
| 1" Bypass Assembly - V3006-XX[1] [11] | .13 L | CLD 23 | MLTPL |  |
| 1" John Guest QC Elbow Assembly - V3007-20[1] | .04 L | CLD 23 | MLTPL |  |
| 1" John Guest Straight QC Assembly - V3007-17[1] | .1 L | CLD 23 | MLTPL |  |
| 1" Meter Assembly - V3039[1] | .11 L | CLD 23 | MLTPL |  |
| 1" Meter Assembly - V3039-15[1] | .11 L | CLD 23 | MLTPL |  |
| 1" PVC Male BSPT Elbow Assembly - V3007-16[1] | .08 L | CLD 23 | MLTPL |  |
| 1" PVC Male NPT Elbow Assembly - V3007[1] | .08 L | CLD 23 | MLTPL |  |
| 1" Plastic Male BSPT Assembly - V3007-06[1] | .05 L | CLD 23 | MLTPL |  |
| 1" Plastic Male NPT Assembly - V3007-04[1] | .05 L | CLD 23 | MLTPL |  |
| 1" Sharkbite® Assembly - V3007-13LF[1] | .08 L | CLD 23 | MLTPL |  |
| 1" Twin Control Valve - TT1XX - VTT1AABCD-EFFGG[1] [2] | 2.06 L | CLD 23 | MLTPL |  |
| 1'' Control Valve - WS1XX - V1AABCD-EFFGG[1] [2] | .51 L | CLD 23 | MLTPL |  |
| 1.25" Brass Sweat Assembly LF - V3007-09LF[1] | .04 L | CLD 23 | MLTPL |  |
| 1.25" Control Valve - WS125XX - V125AABCD-EFFGG[1] [2] | .69 L | CLD 23 | MLTPL |  |
| 1.25" PVC Solvent Assembly - V3007-07[1] | .03 L | CLD 23 | MLTPL |  |
| 1.25" Plastic Male BSPT Assembly - V3007-08[1] | .08 L | CLD 23 | MLTPL |  |
| 1.25" Plastic Male NPT Assembly - V3007-05[1] | .08 L | CLD 23 | MLTPL |  |
| 1.5" BSPT Meter - V3040BSPT[3] | .25 L | CLD 23 | MLTPL |  |
| 1.5" BSPT Meter - V3040BSPT-15[3] | .25 L | CLD 23 | MLTPL |  |
| 1.5" BSPT Motorized Alternating Valve (MAV) - V3071BSPT[3] | .59 L | CLD 23 | MLTPL |  |
| 1.5" BSPT No Hard Water Bypass Valve (NHWBP) - V3097BSPT[3] | .52 L | CLD 23 | MLTPL |  |
| 1.5" BYPASS ASSEMPLY - V4678[5] | .53 L | CLD 23 | MLTPL |  |
| 1.5" Brass Sweat Assembly LF - V3007-09LF[1] | .08 L | CLD 23 | MLTPL |  |
| 1.5" Control Valve - WS15XX - V15AABCD-EFFGG[3] [4] | 1.08 L | CLD 23 | MLTPL |  |
| 1.5" NPT Meter - V3040[3] | .25 L | CLD 23 | MLTPL |  |
| 1.5" NPT Meter - V3040-15[3] | .25 L | CLD 23 | MLTPL |  |
| 1.5" NPT Motorized Alternating Valve (MAV) - V3071[3] | .59 L | CLD 23 | MLTPL |  |
| 1.5" NPT No Hard Water Bypass Valve (NHWBP) - V3097[3] | .52 L | CLD 23 | MLTPL |  |
| 1.5" PLASTIC FTG ASY QC TO BSPT SS - V4430-12[5] | .09 L | CLD 23 | MLTPL |  |
| 1.5" PLASTIC FTG ASY QC TO NPT SS - V4430-11[5] | .09 L | CLD 23 | MLTPL |  |
| 1.5" PVC Solvent Assembly - V3007-07[1] | .08 L | CLD 23 | MLTPL |  |
| 1.5" Plastic Control Valve - WS15P XX - VP15AABCD-EFFGG[4] [5] | 1.09 L | CLD 23 | MLTPL |  |
| 1.5" Plastic FTG ASY QC TO BSPT - V4430-02[5] | .09 L | CLD 23 | MLTPL |  |
| 1.5" Plastic FTG ASY QC TO NPT - V4430-01[5] | .09 L | CLD 23 | MLTPL |  |
| 1.5" Plastic FTG ASY QC TO QC - V4430-03[5] | .09 L | CLD 23 | MLTPL |  |
| 1.5" Plastic FTG ASY QC to BSPT Elbow - V4430-08[5] | .12 L | CLD 23 | MLTPL |  |
| 1.5" Plastic FTG ASY QC to NPT Elbow - V4430-07[5] | .12 L | CLD 23 | MLTPL |  |
| 1.5" Plastic FTG ASY QC to QC Elbow - V4430-09[5] | .14 L | CLD 23 | MLTPL |  |
| 1.5" Plastic FTG ASY QC to Solvent - V4430-13[5] | .14 L | CLD 23 | MLTPL |  |
| 1.5" Plastic METER ASY BSPT 15FT - V3045BSPT-15[5] | .13 L | CLD 23 | MLTPL |  |
| 1.5" Plastic METER ASY BSPT 28IN - V3045BSPT[5] | .13 L | CLD 23 | MLTPL |  |
| 1.5" Plastic METER ASY NPT 15FT - V3045-15[5] | .13 L | CLD 23 | MLTPL |  |
| 1.5" Plastic METER ASY NPT 28IN - V3045[5] | .13 L | CLD 23 | MLTPL |  |
| 1.5" Plastic METER ASY QC TO QC 15FT - V3045QC-15[5] | .13 L | CLD 23 | MLTPL |  |
| 1.5" Plastic METER ASY QC TO QC 28IN - V3045QC[5] | .13 L | CLD 23 | MLTPL |  |
| 1.5" Plastic Motorized Alternating Valve (MAV) - V3034[5] | .59 L | CLD 23 | MLTPL |  |
| 1.5" Plastic No Hard Water Bypass Valve (NHWBP) - V3035[5] | .54 L | CLD 23 | MLTPL |  |
| 1.5" TWIN CONTROL VALVES - VT15AABCD-EFFGG[6] | 4.59 L | CLD 23 | MLTPL |  |
| 1190FP In-Out Head w/ Fill Port - D1220-01[1] | .48 L | CLD 23 | MLTPL |  |
| 1191 In-Out Head - D1400[1] | .35 L | CLD 23 | MLTPL |  |
| 1191 In-Out Head w/ 1.320in Riser - D1400-03[1] | .41 L | CLD 23 | MLTPL |  |
| 1192 1.5 IN/OUT HEAD - D1403[1] | .87 L | CLD 23 | MLTPL |  |
| 1192 50MM IN/OUT HEAD - D1403-01[1] | .87 L | CLD 23 | MLTPL |  |
| 2" BSPT Meter - V3094BSPT[3] | .37 L | CLD 23 | MLTPL |  |
| 2" BSPT Meter - V3094BSPT-15[3] | .37 L | CLD 23 | MLTPL |  |
| 2" BSPT Motorized Alternating Valve (MAV) - V3076BSPT[3] | .69 L | CLD 23 | MLTPL |  |
| 2" BSPT No Hard Water Bypass Valve (NHWBP) - V3098BSPT[3] | .63 L | CLD 23 | MLTPL |  |
| 2" Control Valve - WS2XX - V2AABCD-EFFGG[3] [7] | 2.04 L | CLD 23 | MLTPL |  |
| 2" HF Control Valve - WS2HF - V2HFABC-DD[8] [9] | 3.52 L | CLD 23 | MLTPL |  |
| 2" NPT Meter - V3094[3] | .37 L | CLD 23 | MLTPL |  |
| 2" NPT Meter - V3094-15[3] | .37 L | CLD 23 | MLTPL |  |
| 2" NPT Motorized Alternating Valve (MAV) - V3076[3] | .69 L | CLD 23 | MLTPL |  |
| 2" NPT No Hard Water Bypass Valve (NHWBP) - V3098[3] | .63 L | CLD 23 | MLTPL |  |
| 2" PLASTIC FTG ASY QC TO BSPT SS - V4460-12 | .19 L | CLD 23 | MLTPL |  |
| 2" PLASTIC FTG ASY QC TO NPT SS - V4460-11 | .19 L | CLD 23 | MLTPL |  |
| 2" Plastic Control Valve - WS2P XX - VP2AABCD-EFFGG[3] [7] | 2.12 L | CLD 23 | MLTPL |  |
| 2" Plastic FTG ASY QC TO BSPT - V4460-02[3] | .19 L | CLD 23 | MLTPL |  |
| 2" Plastic FTG ASY QC TO NPT - V4460-01[3] | .19 L | CLD 23 | MLTPL |  |
| 2" Plastic FTG ASY QC TO QC - V4460-03[3] | .24 L | CLD 23 | MLTPL |  |
| 2" Plastic FTG ASY QC to BSPT Elbow - V4460-05[3] | .32 L | CLD 23 | MLTPL |  |
| 2" Plastic FTG ASY QC to NPT Elbow - V4460-04[3] | .32 L | CLD 23 | MLTPL |  |
| 2" Plastic FTG ASY QC to QC Elbow - V4460-06[3] | .35 L | CLD 23 | MLTPL |  |
| 2" Plastic FTG ASY QC to Solvent - V4460-13[3] | .28 L | CLD 23 | MLTPL |  |
| 2" Plastic METER ASY BSPT 15FT - V3048BSPT-15[3] | .31 L | CLD 23 | MLTPL |  |
| 2" Plastic METER ASY BSPT 28IN - V3048BSPT[3] | .31 L | CLD 23 | MLTPL |  |
| 2" Plastic METER ASY NPT 15FT - V3048-15[3] | .31 L | CLD 23 | MLTPL |  |
| 2" Plastic METER ASY NPT 28IN - V3048[3] | .31 L | CLD 23 | MLTPL |  |
| 2" Plastic METER ASY QC TO QC 15FT - V3048QC-15[3] | .31 L | CLD 23 | MLTPL |  |
| 2" Plastic METER ASY QC TO QC 28IN - V3048QC[3] | .31 L | CLD 23 | MLTPL |  |
| 2" Plastic Motorized Alternating Valve (MAV) - V3036[3] | .99 L | CLD 23 | MLTPL |  |
| 2" Plastic No Hard Water Bypass Valve (NHWBP) - V3037[3] | .9 L | CLD 23 | MLTPL |  |
| 2" Quick Connect Control Valve - WS2XX - V2AABCD-EFFGG[3] [4] | 2.04 L | CLD 23 | MLTPL |  |
| 2” QC & 2H 4" BASE Assembly - V3064[3] | .5 L | CLD 23 | MLTPL |  |
| 2” QC & 2H 6" FLANGE BASE Assembly - V3055[3] | 1 L | CLD 23 | MLTPL |  |
| 2” QC & 2H BSPT SIDE MOUNT Assembly - V3260BSPT-02[3] | 2.1 L | CLD 23 | MLTPL |  |
| 2” QC & 2H NPT SIDE MOUNT Assembly - V3260-02[3] | 2.1 L | CLD 23 | MLTPL |  |
| 3" BSPT Meter - V3095BSPT[3] | 1.64 L | CLD 23 | MLTPL |  |
| 3" BSPT Meter - V3095BSPT-15[3] | 1.64 L | CLD 23 | MLTPL |  |
| 3" BSPT Motorized Alternating Valve (MAV) - V3083BSPT[9] | 3.04 L | CLD 23 | MLTPL |  |
| 3" BSPT No Hard Water Bypass Valve (NHWBP) - V3099BSPT[9] | 1.78 L | CLD 23 | MLTPL |  |
| 3" BSPT Side Mount Base Assembly - V3674BSPT-02[3] | 1.03 L | CLD 23 | MLTPL |  |
| 3" Control Valve - WS3 -V3ABC-DD[9] [10] | 5.59 L | CLD 23 | MLTPL |  |
| 3" NPT Meter - V3095[3] | 1.64 L | CLD 23 | MLTPL |  |
| 3" NPT Meter - V3095-15[3] | 1.64 L | CLD 23 | MLTPL |  |
| 3" NPT Motorized Alternating Valve (MAV) - V3083[9] | 3.04 L | CLD 23 | MLTPL |  |
| 3" NPT No Hard Water Bypass Valve (NHWBP) - V3099[9] | 1.78 L | CLD 23 | MLTPL |  |
| 3" NPT Side Mount Base Assembly - V3674-02[3] | 1.03 L | CLD 23 | MLTPL |  |
| 3/4" Brass Sweat Assembly LF - V3007-03LF[1] | .01 L | CLD 23 | MLTPL |  |
| 3/4" John Guest QC Elbow Assembly - V3007-15[1] | .08 L | CLD 23 | MLTPL |  |
| 3/4" John Guest QC Straight Assembly - V3007-19[1] | .08 L | CLD 23 | MLTPL |  |
| 3/4" Plastic Male BSPT Assembly - V3007-14[1] | .04 L | CLD 23 | MLTPL |  |
| 3/4" Plastic Male NPT Assembly - V3007-18[1] | .04 L | CLD 23 | MLTPL |  |
| 3/4" Sharkbite® Assembly - V3007-12LF[1] | .05 L | CLD 23 | MLTPL |  |
| 3/4" x 1" PVC Solvent Elbow Assembly - V3007-01[1] | .08 L | CLD 23 | MLTPL |  |
| 6" Flange Base Assembly - V3090[1] | .66 L | CLD 23 | MLTPL |  |
| Air Blocker - D1047 | 0 L | CLD 23 | MLTPL |  |
| DPMT-0948[1] | 0 L | CLD 23 | MLTPL |  |
| DPMT-0948-A[1] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1054[5] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1054-1320[5] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1054-32MM[5] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1054-A[5] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1252[3] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1252-1320[3] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1252-32MM[3] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1252-A[3] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1354[12] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1354-1320[12] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1354-32MM[12] | 0 L | CLD 23 | MLTPL |  |
| DPMT-1354-A[12] | 0 L | CLD 23 | MLTPL |  |
| External In-Line Mixing Valve - V4099[1] | .1 L | CLD 23 | MLTPL |  |
| FITTING 2.5-8 - D1285[1] | .11 L | CLD 23 | MLTPL |  |
| Inline Adapter Fitting - V3467[1] | .13 L | CLD 23 | MLTPL |  |
| TOP DIFFUSER 1.050 WATER RIGHT - D1249WR[1] | 0 L | CLD 23 | MLTPL |  |
| Vertical Adapter Assembly - V3191-01[1] | .26 L | CLD 23 | MLTPL |  |
| [1] Certified for use with tanks 9 x 48 and greater. [2] V1AABCD-EFFGG, VTT1AABCD-EFFGG, and V125AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be A, A2, A3, B, C, D, E, F, G, H, I, J, K, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations. GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [3] Certified for use with tanks 12 x 52 and greater. [4] V15AABCD-EFFGG and VP15AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be B, C, D, E, F, G, H, I, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations. GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [5] Certified for use with tanks 10 x 54 and greater. [6] Certified for use with tanks 14 x 65 and greater. [7] V2AABCD-EFFGG and VP2AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be A, A2, A3, B, C, D, E, F, G, R, S, T, U, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations.GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [8] V2HABC-DD and V2HFABC-DD where: A - May be D (downflow) or B (backwash only). B - May be M (meter) or T (timer). C - May be A, A2, A3, B, C, D, E, F, G, H or Z. Indicates the injector installed. DD - May be any number from 01 to 99. Indicates packaging or NPT or BSPT variations. [9] Certified for use with tanks 18 x 65 and greater. [G] Product is Certified to NSF/ANSI 372 and conforms with the lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. [10] V3ABC-DD where: A - May be D (downflow) or B (backwash only). B - May be M (meter) or T (timer). C - May be A, A2, A3, B, C, D, E, F, G, or H. Indicates the injector installed. DD - May be any number from 01 to 99. Indicates packaging or NPT or BSPT variations. [11] V3006-XX where XX may be 01, 02 or 04. Indicates handle color, handle direction or packaging. [12] Certified for use with tanks 13 x 54 and greater. |  |  |  |  |
| Tanks[G] |  |  |  |  |
| 10 X 13 | 3.25 gal. | CLD 23 | MLTPL |  |
| 10 X 18 | 4.75 gal. | CLD 23 | MLTPL |  |
| 10 X 35 | 10.24 gal. | CLD 23 | MLTPL |  |
| 10 X 40 | 12.02 gal. | CLD 23 | MLTPL |  |
| 10 X 40 BTM PLT | 12.02 gal. | CLD 23 | MLTPL |  |
| 10 X 44 | 13.23 gal. | CLD 23 | MLTPL |  |
| 10 X 44 BTM PLT | 13.23 gal. | CLD 23 | MLTPL |  |
| 10 X 47 | 14.2 gal. | CLD 23 | MLTPL |  |
| 10 X 54 | 16.02 gal. | CLD 23 | MLTPL |  |
| 10 X 54 BTM & MID PLT | 16.01 gal. | CLD 23 | MLTPL |  |
| 10 X 54 BTM PLT | 16.01 gal | CLD 23 | MLTPL |  |
| 10 X 54 DH BTM PLT | 16.01 gal. | CLD 23 | MLTPL |  |
| 10 X 54 DH MID & BTM PLT | 16.01 gal. | CLD 23 | MLTPL |  |
| 10 X 54 DOME HOLE | 16.01 gal. | CLD 23 | MLTPL |  |
| 12 X 35 | 14.6 gal. | CLD 23 | MLTPL |  |
| 12 X 48 | 20.8 gal. | CLD 23 | MLTPL |  |
| 12 X 52 | 22.88 gal. | CLD 23 | MLTPL |  |
| 12 X 52 BTM & MID PLT | 22.88 gal. | CLD 23 | MLTPL |  |
| 12 X 52 BTM PLT | 22.88 gal. | CLD 23 | MLTPL |  |
| 12 X 52 DH BTM PLT | 22.88 gal. | CLD 23 | MLTPL |  |
| 12 X 52 DH MID & BTM PLT | 22.88 gal. | CLD 23 | MLTPL |  |
| 12 X 52 DOME HOLE | 22.88 gal. | CLD 23 | MLTPL |  |
| 13 X 54 | 27.84 gal. | CLD 23 | MLTPL |  |
| 13 X 54 BTM & MID PLT | 27.84 gal. | CLD 23 | MLTPL |  |
| 13 X 54 BTM PLT | 27.84 gal. | CLD 23 | MLTPL |  |
| 13 X 54 DH BTM PLT | 27.84 gal. | CLD 23 | MLTPL |  |
| 13 X 54 DH MID & BTM PLT | 27.84 gal. | CLD 23 | MLTPL |  |
| 13 X 54 DOME HOLE | 27.84 gal. | CLD 23 | MLTPL |  |
| 14 x 65 | 39.44 gal. | CLD 23 | MLTPL |  |
| 16 x 53 | 41.0 gal. | CLD 23 | MLTPL |  |
| 16 x 65 | 51.2 gal. | CLD 23 | MLTPL |  |
| 18 x 65 | 73.48 gal. | CLD 23 | MLTPL |  |
| 21 x 62 | 89.59 gal. | CLD 23 | MLTPL |  |
| 24 x 72 | 122.61 gal. | CLD 23 | MLTPL |  |
| 30 X 72 | 193.48 gal. | CLD 23 | MLTPL |  |
| 35 X 72 | 277.71 gal. | CLD 23 | MLTPL |  |
| 8 X 35 | 6.73 gal. | CLD 23 | MLTPL |  |
| 8 X 44 | 8.59 gal. | CLD 23 | MLTPL |  |
| 9 X 18 | 3.92 gal. | CLD 23 | MLTPL |  |
| 9 X 35 | 8.19 gal. | CLD 23 | MLTPL |  |
| 9 X 44 BTM PLT | 10.50 gal. | CLD 23 | MLTPL |  |
| 9 X 48 | 11.53 gal. | CLD 23 | MLTPL |  |
| 9 X 48 BTM PLT | 11.53 gal. | CLD 23 | MLTPL |  |
| MCT120-C2253 | 120 gal. | CLD 23 | MLTPL |  |
| RT120-C2252 | 120 gal. | CLD 23 | MLTPL |  |
| RT40-C2250 | 40 gal. | CLD 23 | MLTPL |  |
| RT80-C2251 | 80 gal. | CLD 23 | MLTPL |  |
| [G] Product is Certified to NSF/ANSI 372 and conforms with the lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. |  |  |  |  |

Process Media

|  |  | Water | Water |
| --- | --- | --- | --- |
|  |  | Contact | Contact |
| Trade Designation | Size | Temp | Material |
| Oxidative Media [G] |  |  |  |  |
| Birm®[1] | 12x50 mesh | CLD 23 | MNDOX |  |
| [1] Certified for a minimum flow rate of 3.5 gpm/sq. ft (142 lpm/sq. m), using a bed depth of 30-36 in (76-91 cm). [G] Product is Certified to NSF/ANSI 372 and conforms with the lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. |  |  |  |  |

NOTE: Certified for water treatment plant applications.

This product has not been evaluated for point of use applications.