NSF/ANSI 44
Cation Exchange Water Softeners

| Clack Corporation |  |
| --- | --- |
| 4462 Duraform Lane |  |
| Windsor, WI 53598-9716 |  |  |
| United States |  |  |
| 608-846-3010 |  |  |
| Visit this company's website |  |  |

Facility : Windsor, WI

| COMPONENTS: Fittings[1] [Pb] [POE] |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 3/4" Brass Sweat Assembly LF - V3007-03LF[2] |  |  |  |  |  |  |
| 3/4" John Guest QC Elbow Assembly - V3007-15[2] |  |  |  |  |  |  |
| 3/4" John Guest QC Straight Assembly - V3007-19[2] |  |  |  |  |  |  |
| 3/4" Plastic Male BSPT Assembly - V3007-14[2] |  |  |  |  |  |  |
| 3/4" Plastic Male NPT Assembly - V3007-18[2] |  |  |  |  |  |  |
| 3/4" Sharkbite® Assembly - V3007-12LF[2] |  |  |  |  |  |  |
| 3/4" x 1" PVC Solvent Elbow Assembly - V3007-01[2] |  |  |  |  |  |  |
| 1" Brass Sweat Assembly LF - V3007-02LF[2] |  |  |  |  |  |  |
| 1" John Guest QC Elbow Assembly - V3007-20[2] |  |  |  |  |  |  |
| 1" John Guest Straight QC Assembly - V3007-17[2] |  |  |  |  |  |  |
| 1" Meter Assembly - V3039[2] |  |  |  |  |  |  |
| 1" Meter Assembly - V3039-15[2] |  |  |  |  |  |  |
| 1" Plastic Male BSPT Assembly - V3007-06[2] |  |  |  |  |  |  |
| 1" Plastic Male NPT Assembly - V3007-04[2] |  |  |  |  |  |  |
| 1" PVC Male BSPT Elbow Assembly - V3007-16[2] |  |  |  |  |  |  |
| 1" PVC Male NPT Elbow Assembly - V3007[2] |  |  |  |  |  |  |
| 1" Sharkbite® Assembly - V3007-13LF[2] |  |  |  |  |  |  |
| 1.25" Plastic Male BSPT Assembly - V3007-08[2] |  |  |  |  |  |  |
| 1.25" Plastic Male NPT Assembly - V3007-05[2] |  |  |  |  |  |  |
| 1.25" & 1.5" Brass Sweat Assembly LF - V3007-09LF[2] |  |  |  |  |  |  |
| 1.25" & 1.5" PVC Solvent Assembly - V3007-07[2] |  |  |  |  |  |  |
| Inline Vertical Adapter Fitting - V3467[2] |  |  |  |  |  |  |
| Vertical Adapter Assembly - V3191-01[2] |  |  |  |  |  |  |
| [1] Conforms to material and structural integrity requirements. [2] Certified for use with tanks 9 x 48 and greater. [Pb] Product also evaluated and determined to possess weighted average lead content of <=0.25% and complies with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. [POE] Product conforms to NSF/ANSI/CAN 61 health effects requirements. |  |  |  |  |  |  |
| COMPONENTS: Tanks, Water Softener[1] [Pb] [POE] |  |  |  |  |  |  |
| 8 x 35 |  |  |  |  |  |  |
| 8 x 44 |  |  |  |  |  |  |
| 9 x 18 |  |  |  |  |  |  |
| 9 x 35 |  |  |  |  |  |  |
| 9 x 44 BTM PLT |  |  |  |  |  |  |
| 9 x 48 |  |  |  |  |  |  |
| 9 x 48 BTM PLT |  |  |  |  |  |  |
| 10 X 13 |  |  |  |  |  |  |
| 10 x 18 |  |  |  |  |  |  |
| 10 x 35 |  |  |  |  |  |  |
| 10 x 40 |  |  |  |  |  |  |
| 10 x 40 BTM PLT |  |  |  |  |  |  |
| 10 x 44 |  |  |  |  |  |  |
| 10 x 44 BTM PLT |  |  |  |  |  |  |
| 10 x 47 |  |  |  |  |  |  |
| 10 x 54 |  |  |  |  |  |  |
| 10 x 54 BTM & MID PLT |  |  |  |  |  |  |
| 10 x 54 BTM PLT |  |  |  |  |  |  |
| 10 x 54 DH BTM PLT |  |  |  |  |  |  |
| 10 x 54 DH MID & BTM PLT |  |  |  |  |  |  |
| 10 x 54 DOME HOLE |  |  |  |  |  |  |
| 12 x 35 |  |  |  |  |  |  |
| 12 x 52 |  |  |  |  |  |  |
| 12 x 52 BTM & MID PLT |  |  |  |  |  |  |
| 12 x 52 BTM PLT |  |  |  |  |  |  |
| 12 x 52 DH BTM PLT |  |  |  |  |  |  |
| 12 x 52 DH MID & BTM PLT |  |  |  |  |  |  |
| 12 x 52 DOME HOLE |  |  |  |  |  |  |
| 13 x 54 |  |  |  |  |  |  |
| 13 x 54 BTM & MID PLT |  |  |  |  |  |  |
| 13 x 54 BTM PLT |  |  |  |  |  |  |
| 13 x 54 DH BTM PLT |  |  |  |  |  |  |
| 13 x 54 DH MID & BTM PLT |  |  |  |  |  |  |
| 13 x 54 DOME HOLE |  |  |  |  |  |  |
| 14 x 65 |  |  |  |  |  |  |
| 16 x 53 |  |  |  |  |  |  |
| 16 x 65 |  |  |  |  |  |  |
| 18 x 65 |  |  |  |  |  |  |
| 21 x 62 |  |  |  |  |  |  |
| 24 x 72 |  |  |  |  |  |  |
| 30 x 72 |  |  |  |  |  |  |
| 35 x 72 |  |  |  |  |  |  |
| MCT120-C2253 |  |  |  |  |  |  |
| RT40-C2250 |  |  |  |  |  |  |
| RT80-C2251 |  |  |  |  |  |  |
| RT120-C2252 |  |  |  |  |  |  |
| [1] Conforms to material and structural integrity requirements. [Pb] Product also evaluated and determined to possess weighted average lead content of <=0.25% and complies with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. [POE] Product conforms to NSF/ANSI/CAN 61 health effects requirements. |  |  |  |  |  |  |
| COMPONENTS: Tubing[3] [Pb] [POE] |  |  |  |  |  |  |
| DPMT-0948 |  |  |  |  |  |  |
| DPMT-0948-A |  |  |  |  |  |  |
| DPMT-1054 |  |  |  |  |  |  |
| DPMT-1054-A |  |  |  |  |  |  |
| DPMT-1054-32MM |  |  |  |  |  |  |
| DPMT-1054-1320 |  |  |  |  |  |  |
| DPMT-1252 |  |  |  |  |  |  |
| DPMT-1252-A |  |  |  |  |  |  |
| DPMT-1252-32MM |  |  |  |  |  |  |
| DPMT-1252-1320 |  |  |  |  |  |  |
| DPMT-1354 |  |  |  |  |  |  |
| DPMT-1354-32MM |  |  |  |  |  |  |
| DPMT-1354-1320 |  |  |  |  |  |  |
| DPMT-1354-A |  |  |  |  |  |  |
| [3] Certified for use with tanks 10 x 54 and greater. [Pb] Product also evaluated and determined to possess weighted average lead content of <=0.25% and complies with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. [POE] Product conforms to NSF/ANSI/CAN 61 health effects requirements. |  |  |  |  |  |  |
| COMPONENTS: Valves, Diverter, Point-of-Entry[1] [Pb] [POE] |  |  |  |  |  |  |
| 1" Bypass Assembly - V3006[2] |  |  |  |  |  |  |
| 1" Bypass Assembly - V3006-XX[2] [5] |  |  |  |  |  |  |
| 1" Control Valve - WS1XX - V1AABCD-EFFGG[2] [4] |  |  |  |  |  |  |
| 1" Twin Control Valve - TT1XX - VTT1AABCD-EFFGG[2] [4] |  |  |  |  |  |  |
| 1" & 1.25" Motorized Alternating Valve - V3069MM-01[2] |  |  |  |  |  |  |
| 1" & 1.25" Motorized Alternating Valve - V3069FF-01[2] |  |  |  |  |  |  |
| 1" & 1.25" No Hard Water Bypass Valve - V3070FM[2] |  |  |  |  |  |  |
| 1" & 1.25" No Hard Water Bypass Valve - V3070FF[2] |  |  |  |  |  |  |
| 1.25" Control Valve - WS125XX - V125AABCD-EFFGG[2] [4] |  |  |  |  |  |  |
| 1191 In-Out Head - D1400[2] |  |  |  |  |  |  |
| 1191 In-Out Head w/ 1.320in Riser - D1400-03[2] |  |  |  |  |  |  |
| 1190FP In-Out Head w/ Fill Port - D1220-01[2] |  |  |  |  |  |  |
| External In-Line Mixing Valve - V4099[2] |  |  |  |  |  |  |
| [1] Conforms to material and structural integrity requirements. [2] Certified for use with tanks 9 x 48 and greater. [4] V1AABCD-EFFGG, VTT1AABCD-EFFGG and V125AABCD-EFFGG where: AA - May be blank or any two digit letter code B - May be D (downflow, U (upflow), or B (backwash only) C - May be M (meter) or T (timer) D - May be A, A2, A3, B, C, D, E, F, G, H, I, J, K, or Z to indicate the injector installed E - May be blank or any letter code. If E or M then it includes a mixing valve FF - May be any number from 01 to 99. Indicates packaging or base variations GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [5] V3006-XX where XX may be 01, 02 or 04. Indicates handle color, handle direction or packaging. [Pb] Product also evaluated and determined to possess weighted average lead content of <=0.25% and complies with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act. [POE] Product conforms to NSF/ANSI/CAN 61 health effects requirements. |  |  |  |  |  |  |