PART 1

NSF/ANSI/CAN 372 
Drinking Water System Components - Lead Content

| Clack Corporation |  |
| --- | --- |
| 4462 Duraform Lane |  |
| Windsor, WI 53598-9716 |  |  |
| United States |  |  |
| 608-846-3010 |  |  |

Facility : Windsor, WI

Miscellaneous Treatment Devices/Components [LL]

1" & 1.25" Motorized Alternating Valve - V3069FF-01

1" & 1.25" Motorized Alternating Valve - V3069MM-01

1" & 1.25" No Hard Water Bypass Valve - V3070FF

1" & 1.25" No Hard Water Bypass Valve - V3070FM

1" Brass Sweat Assembly LF - V3007-02LF

1" Bypass Assembly - V3006

1" Bypass Assembly - V3006-XX[7]

1" Control Valve - WS1XX - V1AABCD-EFFGG[1]

1" John Guest QC Elbow Assembly - V3007-20[2]

1" John Guest Straight QC Assembly - V3007-17

1" Meter Assembly - V3039

1" Meter Assembly - V3039-15

1" PVC Male BSPT Elbow Assembly - V3007-16

1" PVC Male NPT Elbow Assembly - V3007

1" Plastic Male BSPT Assembly - V3007-06

1" Plastic Male NPT Assembly - V3007-04

1" Sharkbite® Assembly - V3007-13LF

1" Twin Control Valve - TT1XX - VTT1AABCD-EFFGG[1]

1.25" Brass Sweat Assembly LF - V3007-09LF

1.25" Control Valve - WS125XX - V125AABCD-EFFGG[1]

1.25" PVC Solvent Assembly - V3007-07

1.25" Plastic Male BSPT Assembly - V3007-08

1.25" Plastic Male NPT Assembly - V3007-05

1.5" BSPT Meter - V3040BSPT

1.5" BSPT Meter - V3040BSPT-15

1.5" BSPT Motorized Alternating Valve (MAV) - V3071BSPT

1.5" BSPT No Hard Water Bypass Valve (NHWBP) - V3097BSPT

1.5" Brass Sweat Assembly LF - V3007-09LF

1.5" Bypass Assembly - V4678[3]

1.5" Control Valve - WS15XX - V15AABCD-EFFGG[2]

1.5" NPT Meter - V3040

1.5" NPT Meter - V3040-15

1.5" NPT Motorized Alternating Valve (MAV) - V3071

1.5" NPT No Hard Water Bypass Valve (NHWBP) - V3097

1.5" PLASTIC FTG ASY QC TO NPT SS - V4430-11

1.5" PVC Solvent Assembly - V3007-07

1.5" Plastic Control Valve - WS15P XX - VP15AABCD-EFFGG[2] [3]

1.5" Plastic FTG ASY QC TO BSPT - V4430-02[3]

1.5" Plastic FTG ASY QC TO NPT - V4430-01[3]

1.5" Plastic FTG ASY QC TO QC - V4430-03[3]

1.5" Plastic FTG ASY QC to BSPT Elbow - V4430-08

1.5" Plastic FTG ASY QC to NPT Elbow - V4430-07

1.5" Plastic FTG ASY QC to QC Elbow - V4430-09

1.5" Plastic FTG ASY QC to Solvent - 4430-13[3]

1.5" Plastic METER ASY BSPT 15FT - V3045BSPT-15[3]

1.5" Plastic METER ASY BSPT 28IN - V3045BSPT[3]

1.5" Plastic METER ASY NPT 15FT - V3045-15[3]

1.5" Plastic METER ASY NPT 28IN - V3045[3]

1.5" Plastic METER ASY QC TO QC 15FT - V3045QC-15[3]

1.5" Plastic METER ASY QC TO QC 28IN - V3045QC[3]

1.5" Plastic Motorized Alternating Valve (MAV) - V3034[3]

1.5" Plastic No Hard Water Bypass Valve (NHWBP) - V3035[3]

1.5' PLASTIC FTG ASY QC TO BSPT SS - V4430-12

1190FP In-Out Head w/ Fill Port - D1220-01

1191 In-Out Head - D1400

1191 In-Out Head w/ 1.320in Riser - D1400-03

1192 1.5 IN/OUT HEAD - D1403

1192 50MM IN/OUT HEAD - D1403-01

2" BSPT Meter - V3094BSPT

2" BSPT Meter - V3094BSPT-15

2" BSPT Motorized Alternating Valve (MAV) - V3076BSPT

2" BSPT No Hard Water Bypass Valve (NHWBP) - V3098BSPT

2" Control Valve - WS2XX - V2AABCD-EFFGG[4]

2" HF Control Valve - WS2HF - V2HFABC-DD [5]

2" NPT Meter - V3094

2" NPT Meter - V3094-15

2" NPT Motorized Alternating Valve (MAV) - V3076

2" NPT No Hard Water Bypass Valve (NHWBP) - V3098

2" PLASTIC FTG ASY QC TO BSPT SS - V4460-12[9]

2" PLASTIC FTG ASY QC TO NPT SS - V4460-11[9]

2" Plastic Control Valve - WS2P XX - VP2AABCD-EFFGG[4]

2" Plastic FTG ASY QC TO BSPT - V4460-02[9]

2" Plastic FTG ASY QC TO NPT - V4460-01[9]

2" Plastic FTG ASY QC TO QC - V4460-03[9]

2" Plastic FTG ASY QC to BSPT Elbow - V4460-05[9]

2" Plastic FTG ASY QC to NPT Elbow - V4460-04[9]

2" Plastic FTG ASY QC to QC Elbow - V4460-06[9]

2" Plastic FTG ASY QC to Solvent - V4460-13[9]

2" Plastic METER ASY BSPT 15FT - V3048BSPT-15[9]

2" Plastic METER ASY BSPT 28IN - V3048BSPT[9]

2" Plastic METER ASY NPT 15FT - V3048-15[9]

2" Plastic METER ASY NPT 28IN - V3048[9]

2" Plastic METER ASY QC TO QC 15FT - V3048QC-15

2" Plastic METER ASY QC TO QC 28IN - V3048QC

2" Plastic Motorized Alternating Valve (MAV) - V3036

2" Plastic No Hard Water Bypass Valve (NHWBP) - V3037

2" Quick Connect Control Valve - WS2XX - V2AABCD-EFFGG[2]

2H Control Valve - WS2H - V2HABC-DD[5]

2” QC & 2H 4" BASE Assembly - V3064

2” QC & 2H 6" FLANGE BASE Assembly - V3055

2” QC & 2H BSPT SIDE MOUNT Assembly - V3260BSPT-02

2” QC & 2H NPT SIDE MOUNT Assembly - V3260-02

3" BSPT Meter - V3095BSPT

3" BSPT Meter - V3095BSPT-15

3" BSPT Motorized Alternating Valve (MAV) - V3083BSPT

3" BSPT No Hard Water Bypass Valve (NHWBP) - V3099BSPT

3" BSPT Side Mount Base Assembly - V3674-BSPT-02

3" Control Valve - WS3 -V3ABC-DD[6]

3" NPT Meter - V3095

3" NPT Meter - V3095-15

3" NPT Motorized Alternating Valve (MAV) - V3083

3" NPT No Hard Water Bypass Valve (NHWBP) - V3099

3" NPT Side Mount Base Assembly - V3674-02

3/4" Brass Sweat Assembly LF - V3007-03LF

3/4" John Guest QC Elbow Assembly - V3007-15

3/4" John Guest QC Straight Assembly - V3007-19

3/4" Plastic Male BSPT Assembly - V3007-14

3/4" Plastic Male NPT Assembly - V3007-18

3/4" Sharkbite® Assembly - V3007-12LF

3/4" x 1" PVC Solvent Elbow Assembly - V3007-01

6" Flange Base Assembly - V3090

Air Blocker - D1047

DPMT-0948

DPMT-0948-A

DPMT-1054[3]

DPMT-1054-1320[3]

DPMT-1054-32MM[3]

DPMT-1054-A

DPMT-1252

DPMT-1252-1320

DPMT-1252-32MM

DPMT-1252-A

DPMT-1354[8]

DPMT-1354-1320[8]

DPMT-1354-32MM[8]

DPMT-1354-A

External In-Line Mixing Valve - V4099

Inline Adapter Fitting - V3467

Vertical Adapter Assembly - V3191-01

[1] V1AABCD-EFFGG, VTT1AABCD-EFFGG, and V125AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be A, A2, A3, B, C, D, E, F, G, H, I, J, K, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations. GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [2] V15AABCD-EFFGG and VP15AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be B, C, D, E, F, G, H, I, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations. GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [3] Certified for use with tanks 10 x 54 and greater. [4] V2AABCD-EFFGG and VP2AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be A, A2, A3, B, C, D, E, F, G, R, S, T, U, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations.GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [5] V2HABC-DD and V2HFABC-DD where: A - May be D (downflow) or B (backwash only). B - May be M (meter) or T (timer). C - May be A, A2, A3, B, C, D, E, F, G, H or Z. Indicates the injector installed. DD - May be any number from 01 to 99. Indicates packaging or NPT or BSPT variations. [6] V3ABC-DD where: A - May be D (downflow) or B (backwash only). B - May be M (meter) or T (timer). C - May be A, A2, A3, B, C, D, E, F, G, or H. Indicates the injector installed. DD - May be any number from 01 to 99. Indicates packaging or NPT or BSPT variations. [7] V3006-XX where XX may be 01, 02 or 04. Indicates handle color, handle direction or packaging. [8] Certified for use with tanks 13 x 54 and greater. [9] Certified for use with tanks 12 x 52 and greater. [LL] Product conforms with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act.

Tanks[LL]

10 X 13

10 x 18

10 x 35

10 x 40

10 x 40 BTM PLT

10 x 44

10 x 44 BTM PLT

10 x 47

10 x 54

10 x 54 BTM & MID PLT

10 x 54 BTM PLT

10 x 54 DH BTM PLT

10 x 54 DH MID & BTM PLT

10 x 54 DOME HOLE

12 x 35

12 x 48

12 x 52

12 x 52 BTM & MID PLT

12 x 52 BTM PLT

12 x 52 DH BTM PLT

12 x 52 DH MID & BTM PLT

12 x 52 DOME HOLE

13 x 54

13 x 54 BTM & MID PLT

13 x 54 BTM & MID PLT

13 x 54 BTM PLT

13 x 54 DH BTM PLT

13 x 54 DH MID & BTM PLT

13 x 54 DOME HOLE

14 x 65

16 x 53

16 x 65

18 x 65

21 x 62

24 x 72

30 x 72

35 x 72

8 x 35

8 x 44

9 x 18

9 x 35

9 x 44 BTM PLT

9 x 48

9 x 48 BTM PLT

MCT120-C2253

RT120-C2252

RT40-C2250

RT80-C2251

[LL] Product conforms with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act.

PART 2

NSF/ANSI/CAN 372 
Drinking Water System Components - Lead Content

| Clack Corporation |  |  |
| --- | --- | --- |
| 4462 Duraform Lane |  |  |
| Windsor, WI 53598-9716 |  |  |
| United States |  |  |
| 608-846-3010 |  |  |

Facility : Windsor, WI

Miscellaneous Treatment Devices/Components [LL]

1" & 1.25" Motorized Alternating Valve - V3069FF-01

1" & 1.25" Motorized Alternating Valve - V3069MM-01

1" & 1.25" No Hard Water Bypass Valve - V3070FF

1" & 1.25" No Hard Water Bypass Valve - V3070FM

1" Brass Sweat Assembly LF - V3007-02LF

1" Bypass Assembly - V3006

1" Bypass Assembly - V3006-XX[7]

1" Control Valve - WS1XX - V1AABCD-EFFGG[1]

1" John Guest QC Elbow Assembly - V3007-20[2]

1" John Guest Straight QC Assembly - V3007-17

1" Meter Assembly - V3039

1" Meter Assembly - V3039-15

1" PVC Male BSPT Elbow Assembly - V3007-16

1" PVC Male NPT Elbow Assembly - V3007

1" Plastic Male BSPT Assembly - V3007-06

1" Plastic Male NPT Assembly - V3007-04

1" Sharkbite® Assembly - V3007-13LF

1" Twin Control Valve - TT1XX - VTT1AABCD-EFFGG[1]

1.25" Brass Sweat Assembly LF - V3007-09LF

1.25" Control Valve - WS125XX - V125AABCD-EFFGG[1]

1.25" PVC Solvent Assembly - V3007-07

1.25" Plastic Male BSPT Assembly - V3007-08

1.25" Plastic Male NPT Assembly - V3007-05

1.5" BSPT Meter - V3040BSPT

1.5" BSPT Meter - V3040BSPT-15

1.5" BSPT Motorized Alternating Valve (MAV) - V3071BSPT

1.5" BSPT No Hard Water Bypass Valve (NHWBP) - V3097BSPT

1.5" Brass Sweat Assembly LF - V3007-09LF

1.5" Bypass Assembly - V4678[3]

1.5" Control Valve - WS15XX - V15AABCD-EFFGG[2]

1.5" NPT Meter - V3040

1.5" NPT Meter - V3040-15

1.5" NPT Motorized Alternating Valve (MAV) - V3071

1.5" NPT No Hard Water Bypass Valve (NHWBP) - V3097

1.5" PLASTIC FTG ASY QC TO NPT SS - V4430-11

1.5" PVC Solvent Assembly - V3007-07

1.5" Plastic Control Valve - WS15P XX - VP15AABCD-EFFGG[2] [3]

1.5" Plastic FTG ASY QC TO BSPT - V4430-02[3]

1.5" Plastic FTG ASY QC TO NPT - V4430-01[3]

1.5" Plastic FTG ASY QC TO QC - V4430-03[3]

1.5" Plastic FTG ASY QC to BSPT Elbow - V4430-08

1.5" Plastic FTG ASY QC to NPT Elbow - V4430-07

1.5" Plastic FTG ASY QC to QC Elbow - V4430-09

1.5" Plastic FTG ASY QC to Solvent - 4430-13[3]

1.5" Plastic METER ASY BSPT 15FT - V3045BSPT-15[3]

1.5" Plastic METER ASY BSPT 28IN - V3045BSPT[3]

1.5" Plastic METER ASY NPT 15FT - V3045-15[3]

1.5" Plastic METER ASY NPT 28IN - V3045[3]

1.5" Plastic METER ASY QC TO QC 15FT - V3045QC-15[3]

1.5" Plastic METER ASY QC TO QC 28IN - V3045QC[3]

1.5" Plastic Motorized Alternating Valve (MAV) - V3034[3]

1.5" Plastic No Hard Water Bypass Valve (NHWBP) - V3035[3]

1.5' PLASTIC FTG ASY QC TO BSPT SS - V4430-12

1190FP In-Out Head w/ Fill Port - D1220-01

1191 In-Out Head - D1400

1191 In-Out Head w/ 1.320in Riser - D1400-03

1192 1.5 IN/OUT HEAD - D1403

1192 50MM IN/OUT HEAD - D1403-01

2" BSPT Meter - V3094BSPT

2" BSPT Meter - V3094BSPT-15

2" BSPT Motorized Alternating Valve (MAV) - V3076BSPT

2" BSPT No Hard Water Bypass Valve (NHWBP) - V3098BSPT

2" Control Valve - WS2XX - V2AABCD-EFFGG[4]

2" HF Control Valve - WS2HF - V2HFABC-DD [5]

2" NPT Meter - V3094

2" NPT Meter - V3094-15

2" NPT Motorized Alternating Valve (MAV) - V3076

2" NPT No Hard Water Bypass Valve (NHWBP) - V3098

2" PLASTIC FTG ASY QC TO BSPT SS - V4460-12[9]

2" PLASTIC FTG ASY QC TO NPT SS - V4460-11[9]

2" Plastic Control Valve - WS2P XX - VP2AABCD-EFFGG[4]

2" Plastic FTG ASY QC TO BSPT - V4460-02[9]

2" Plastic FTG ASY QC TO NPT - V4460-01[9]

2" Plastic FTG ASY QC TO QC - V4460-03[9]

2" Plastic FTG ASY QC to BSPT Elbow - V4460-05[9]

2" Plastic FTG ASY QC to NPT Elbow - V4460-04[9]

2" Plastic FTG ASY QC to QC Elbow - V4460-06[9]

2" Plastic FTG ASY QC to Solvent - V4460-13[9]

2" Plastic METER ASY BSPT 15FT - V3048BSPT-15[9]

2" Plastic METER ASY BSPT 28IN - V3048BSPT[9]

2" Plastic METER ASY NPT 15FT - V3048-15[9]

2" Plastic METER ASY NPT 28IN - V3048[9]

2" Plastic METER ASY QC TO QC 15FT - V3048QC-15

2" Plastic METER ASY QC TO QC 28IN - V3048QC

2" Plastic Motorized Alternating Valve (MAV) - V3036

2" Plastic No Hard Water Bypass Valve (NHWBP) - V3037

2" Quick Connect Control Valve - WS2XX - V2AABCD-EFFGG[2]

2H Control Valve - WS2H - V2HABC-DD[5]

2” QC & 2H 4" BASE Assembly - V3064

2” QC & 2H 6" FLANGE BASE Assembly - V3055

2” QC & 2H BSPT SIDE MOUNT Assembly - V3260BSPT-02

2” QC & 2H NPT SIDE MOUNT Assembly - V3260-02

3" BSPT Meter - V3095BSPT

3" BSPT Meter - V3095BSPT-15

3" BSPT Motorized Alternating Valve (MAV) - V3083BSPT

3" BSPT No Hard Water Bypass Valve (NHWBP) - V3099BSPT

3" BSPT Side Mount Base Assembly - V3674-BSPT-02

3" Control Valve - WS3 -V3ABC-DD[6]

3" NPT Meter - V3095

3" NPT Meter - V3095-15

3" NPT Motorized Alternating Valve (MAV) - V3083

3" NPT No Hard Water Bypass Valve (NHWBP) - V3099

3" NPT Side Mount Base Assembly - V3674-02

3/4" Brass Sweat Assembly LF - V3007-03LF

3/4" John Guest QC Elbow Assembly - V3007-15

3/4" John Guest QC Straight Assembly - V3007-19

3/4" Plastic Male BSPT Assembly - V3007-14

3/4" Plastic Male NPT Assembly - V3007-18

3/4" Sharkbite® Assembly - V3007-12LF

3/4" x 1" PVC Solvent Elbow Assembly - V3007-01

6" Flange Base Assembly - V3090

Air Blocker - D1047

DPMT-0948

DPMT-0948-A

DPMT-1054[3]

DPMT-1054-1320[3]

DPMT-1054-32MM[3]

DPMT-1054-A

DPMT-1252

DPMT-1252-1320

DPMT-1252-32MM

DPMT-1252-A

DPMT-1354[8]

DPMT-1354-1320[8]

DPMT-1354-32MM[8]

DPMT-1354-A

External In-Line Mixing Valve - V4099

Inline Adapter Fitting - V3467

Vertical Adapter Assembly - V3191-01

[1] V1AABCD-EFFGG, VTT1AABCD-EFFGG, and V125AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be A, A2, A3, B, C, D, E, F, G, H, I, J, K, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations. GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [2] V15AABCD-EFFGG and VP15AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be B, C, D, E, F, G, H, I, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations. GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [3] Certified for use with tanks 10 x 54 and greater. [4] V2AABCD-EFFGG and VP2AABCD-EFFGG where: AA - May be blank or any two digit letter code. B - May be D (downflow), U (upflow), or B (backwash only). C - May be M (meter) or T (timer). D - May be A, A2, A3, B, C, D, E, F, G, R, S, T, U, or Z to indicate the injector installed. E - May be blank or any letter code. If E or M then it includes a mixing valve. FF - May be any number from 01 to 99. Indicates packaging or base variations.GG - May be any two digit combination of letters. If blank, cover is black or if filled in indicates colored covers or special labels on the cover. [5] V2HABC-DD and V2HFABC-DD where: A - May be D (downflow) or B (backwash only). B - May be M (meter) or T (timer). C - May be A, A2, A3, B, C, D, E, F, G, H or Z. Indicates the injector installed. DD - May be any number from 01 to 99. Indicates packaging or NPT or BSPT variations. [6] V3ABC-DD where: A - May be D (downflow) or B (backwash only). B - May be M (meter) or T (timer). C - May be A, A2, A3, B, C, D, E, F, G, or H. Indicates the injector installed. DD - May be any number from 01 to 99. Indicates packaging or NPT or BSPT variations. [7] V3006-XX where XX may be 01, 02 or 04. Indicates handle color, handle direction or packaging. [8] Certified for use with tanks 13 x 54 and greater. [9] Certified for use with tanks 12 x 52 and greater. [LL] Product conforms with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act.

Tanks[LL]

10 X 13

10 x 18

10 x 35

10 x 40

10 x 40 BTM PLT

10 x 44

10 x 44 BTM PLT

10 x 47

10 x 54

10 x 54 BTM & MID PLT

10 x 54 BTM PLT

10 x 54 DH BTM PLT

10 x 54 DH MID & BTM PLT

10 x 54 DOME HOLE

12 x 35

12 x 48

12 x 52

12 x 52 BTM & MID PLT

12 x 52 BTM PLT

12 x 52 DH BTM PLT

12 x 52 DH MID & BTM PLT

12 x 52 DOME HOLE

13 x 54

13 x 54 BTM & MID PLT

13 x 54 BTM & MID PLT

13 x 54 BTM PLT

13 x 54 DH BTM PLT

13 x 54 DH MID & BTM PLT

13 x 54 DOME HOLE

14 x 65

16 x 53

16 x 65

18 x 65

21 x 62

24 x 72

30 x 72

35 x 72

8 x 35

8 x 44

9 x 18

9 x 35

9 x 44 BTM PLT

9 x 48

9 x 48 BTM PLT

MCT120-C2253

RT120-C2252

RT40-C2250

RT80-C2251

[LL] Product conforms with lead content requirements for “lead free” plumbing as defined by California, Vermont, Maryland, and Louisiana state laws and the U.S. Safe Drinking Water Act.