NSF/ANSI/CAN 61
 Drinking Water System Components - Health Effects

NOTE: Unless otherwise indicated for Materials, Certification is only for the Water Contact Material shown in the Listing. Click here for a list of Abbreviations used in these Listings. Click here for the definitions of Water Contact Temperatures denoted in these Listings. Products certified to NSF/ANSI/CAN 61 comply with the health effects criteria in NSF/ANSI/CAN 600. 
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	Trade Designation
	Size
	Temp
	Material

	
Oxidative Media 				

	Filter-Ox™
	18 x 45 mesh
	CLD 23
	OTHER



NOTE: Certified for water treatment plant applications.
      This product has not been evaluated for point of use applications.

